## Slide 1: Inter-comparison of ISS-LIS, TRMM-LIS, and GLM
Daile Zhang
2021 GLM Science Meeting
1
09/23/2021
Collaborators: Tim Lang, Ken Cummins, Mason Quick, and Scott Rudlosky
dlzhang@umd.edu
NNH19ZDA001N-ESROGSS

## Slide 2: Project Overview
Background
GLM coarser resolution (8×8 km at nadir and 14×14 km at edges) and LIS finer resolution (~4.5×4.5 km2)
Reduced GLM detection efficiency for short and/or small flashes
Primary Goals
Merge ISS-LIS and GLM datasets by developing a statistical model to downscale GLM resolution
Increase space-based total lightning detection efficiency by combining the two observations
Improve GLM optical area and energy estimation
dlzhang@umd.edu
2
2021 GLM Science Meeting
09/23/2021

## Slide 3: What additional insights can ISS-LIS provide?
ISS-LIS provides:
1) higher spatial resolution images (more information)
2) help with boresight-dependent parallax correction
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
3

## Slide 4: First step: Inter-compare ISS-LIS with well-documented TRMM-LIS
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
4

## Slide 5: Events, Groups and Flashes
On average, ISS-LIS detects
  0.8 less events per group
  1.3 less groups per flash
50th percentile ISS-LIS groups have 2 events (vs. 3 events in TRMM-LIS)
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
5

## Slide 6: Event Area: QC ISS-LIS vs. TRMM-LIS
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
6
ISS-LIS
ISS-LIS
TRMM-LIS Event Area is more consistent than QC ISS-LIS

## Slide 7: Recalculation of the ISS-LIS Event Area
Tim Lang recalculated the ISS-LIS pixel area by averaging all possible setups
QC
New
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
7

## Slide 8: Recalculated Event Area is better
TRMM-LIS
Recalculated ISS-LIS event area is consistent in the Pixel Array
Related?
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
8

## Slide 9: Group Radiance : TRMM-LIS vs. ISS-LIS
Group Radiance
Group Radiance
The median ISS-LIS group radiance is 25-30% less than that of TRMM-LIS
Large radiance single-event groups exist in ISS-LIS
Is the radiance calculated based on the area? Do we need to recalculate radiance?
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
9

## Slide 10: Inter-compare ISS-LIS group energy with GLM
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
10

## Slide 11: How to compare LIS radiance and GLM energy
1. Convert LIS radiance to GLM equivalent energy
Where
 = Optical Bandwidth (m)
A = Group Area (m2)
n = # of Events in a Group
Koshak (2017) and
Zhang & Cummins (2020)
2. Compare the GLM and LIS isolated groups or "supergroups" coincidence
≥ 50% of the ratios are less than or equal to 4
Extremes do exist
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
11

## Slide 12: A Large-Ratio Example (high-latitude)
Plan View (color-coded by energy)
Time Series of the Energy
GLM did not see the first groups and the very last one when the energy was not high, but detected much higher energy values when the LIS also detected high energy
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
12

## Slide 13: Future Plans
Interpolate GLM Energy onto LIS Pixel Geometry
Spatial deconvolution
GLM pixel
LIS pixel
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021
13
The recalculated pixel areas/radiance will be used to refine our future calculations

## Slide 14
Thank you!
14
2021 GLM Science Meeting
dlzhang@umd.edu
09/23/2021