## Slide 1: Preliminary Comparison of Bolide Measurements by the Geostationary Lightning Mapper (GLM) GLM-17 and GLM-18
Randy Longenbaugh, Sandia National Laboratories
GLM Science Meeting, September 15th , 2022

## Slide 2: Overview
  Objective
    Comparisons of bolide observations between GLM-17 and GLM-18 PLT help evaluate and understand the performance of our bolide detection capabilities
    Hopefully help everyone to understand GLM-18 performance using non lightning sources
  Manual Comparison
    Selected a handful of examples for visual comparison
    Only compared L2 data
    Did not use the new continuum calibration tables
    Picked more recent events to allow more RTEP tuning
    Compared the time/intensity recordings of bolides AKA “Light Curves” and ground tracks
  Sandia can do a more extensive statistical comparison now that we have access to GLM-18 data through UAH data portal
    Use NASA’s GLM-17 bolide detections as comparison basis
  NASA Ames bolide detection pipeline does not have access to GLM-18 data
    We would like to start testing our detection algorithms with GLM-18 data

## Slide 3: Bolide Event 08/15/2022 08:14:15
Location 20.4S, 92.1W
Light Curve Comparison
Ground Track Comparison

## Slide 4: Bolide Event 08/14/2022 22:27:53
Location 36.3N, 172.2W
Light Curve Comparison
Ground Track Comparison

## Slide 5: Bolide Event 08/13/2022 12:41:48
Location 5.1S,115.0W
Light Curve Comparison
Ground Track Comparison

## Slide 6: Bolide Event 08/12/2022 21:01:18
Location 22.8N,135.1W
Light Curve Comparison
Ground Track Comparison

## Slide 7: Bolide Event 08/11/2022 20:11:12
Location 47.5N,154.0W
Light Curve Comparison
Ground Track Comparison

## Slide 8: Summary
  Not many comparison so general conclusions are hard to make
  In all comparisons presented GLM-18 has more observations than GLM-17
  In some cases the GLM light curves have significant differences
  In some cases there are significant differences in the ground tracks a
  In most cases GLM-18 has higher peak amplitudes but not always